APPENDIX C - LIST OF ITEMS TO INCLUDE IN LUCELEC 3 MW SOLAR FARM EPC RFP TECHNICAL PROPOSAL DATA FORM

PROVIDE SEPARATE FORMS FOR:

- Phase 1:  1 MWac (East Site - North Tract 7A)

- Phase 2:  1 MWac (East Site - South Tract 7B)

- Phase 3:  1 MWac (West Site 7C)

- Total plant DC capacity (sum of module flash test ratings) (kW)

- Total plant AC capacity (sum of inverter ratings @ design PF and ambient conditions) (kWac)

- Overall plant DC/AC ratio

- Estimated MV collection system electrical power losses from inverters to Power Plant: Plant Substation terminal point (kW)

- Guaranteed capacity at Power Plant: Plant Substation terminal point (kWac)

- Guaranteed annual specific yield delivered to Power Plant: Plant Substation terminal point (kWhac/kWdc/yr) (net of night time auxiliary power consumption)

- Guaranteed annual energy delivered to the Power Plant: Plant Substation terminal point (MWHac) (net of night time auxiliary power consumption)

- Array design parameters (provide following for each different array design proposes)

  - Number of inverter arrays

  - DC capacity

  - AC capacity

  - DC: AC ratio

  - Row spacing

  - Tilt angle (fixed tilt design only)

  - Azimuth rotation (from direct N – S)

  - Ground coverage ratio

  - DC system design voltage (V)

  - No. modules per string

  - No. strings per combiner box

  - Outside array physical dimensions, length x width (ft)

  - Etc.

- Module information

  - Module manufacturer

  - Module model

  - Nominal module bin class/rating

  - Manufacturing location

  - Attach module data sheets (for alternative suppliers only)

  - Attach standard module factory testing/QA  information (for alternative suppliers only)

  - Module degradation curve (25 years)

  - Module warranty proposal (for alternative suppliers only)

- Inverter Information

  - Adapted from module info list, plus

  - Inverter kW, kVA, & PF design ratings

  - Located outdoors or in enclosure?

  - Inverter warranty proposal (for alternative suppliers only)

  - Etc.

- Medium Voltage Transformer Information

  - Adapted from module info list, plus

  - Design ratings, kVAR, low and high side voltage levels, etc.

  - Configuration (2 or 3 winding, Wye/Delta, etc.)

  - Transformer oil type and volume

  - Etc.

- MV Collection System Information

  - Voltage level

  - UG design

  - Approximate total length of MV collection lines

- MV Switchgear

  - Request equipment info similar to other equipment

- Data Acquisition System

- Raw Water, Firewater, and Potable Water Systems

  - Do we need treated water for module washing?

  - Does EPC connect to city water, existing well, new well by Contractor?

- Construction  Information

  - On site CM staff size (peak and average)

  - Construction workforce estimate (peak and average, excluding CM staff)

  - Total estimated construction work hours (CM and craft)

  - Construction water source

  - Construction water usage (avg and peak daily, and total for construction)

  - Construction power source

  - Commitment to local labor sourcing?

  - Commitment to conform to PLA?

  - Describe construction facilities provided for Contractor’s use, and (separately) for Owner’s use